|  |  |
| --- | --- |
| L-CaD, CD68, CD163, periostin antikorları ve DAB detection kiti | Şartname alttadır, imzalı teknik şartname ekte sunulmuştur. |
| 1. **İMMUNHİSTOKİMYA SARF MALZEMELERİ**
 |
|  | **Satın alınacak malzeme**  | **Şartname özellikleri** | **Miktar**  | **Birim**  |
| 1. | L-CaD | Klon F-10, monoclonal, mouse anti human, konsante veya predilue formda (en az 50 testlik ambalajda) | 2 | kutu  |
| 2 | Periostin | Klon F-10, monoclonal, mouse anti-human, konsatre veya predilue formda (en az 50 testlik ambalajda) | 2 | kutu |
| 3 | DAB detection kiti | Tam Otomatik İmmun Boyama Cihazı Kiti (Ultraview DAB Kit) (en az 250 testlik ambalajda)İçeriği:* UltraView Universal DAB Detection Kit
* iView DAB Detection Kit
* AEC DETECTION KIT
* Ultraview Universal Alkaline Phospotase Red Detection Kit
* EZ Prep 10X concentrate
* LCS High Temp
* 10x SSC Solution, 2L
* Cell Conditioning Solution (CC1)
* Cell Conditioning Solution (CC2)
* Reaction Buffer Solution, Shipping (10X)
* Kit Pack, Ebar (Europe)
* Amplification Kit
* Protease 1
* Endogenous Biotin Blocking Kit
* Hematoxylin
* Hematoxylin II
* Bluing Reagent
* Prep Kit
 | 2  | kutu |